## Sheet1
APPENDIX C: AHRI Large Unitary Air Conditioners and Heat Pumps (ULE) Certification Test Punch List
This completed form must accompany all units submitted for third party certification testing for the AHRI Unitary Large Equipment Certification Program
OEM: | [6 empty] | REQUIRED
Location: | [6 empty] | REQUIRED
Primary Contact | [6 empty] | REQUIRED
Name: | [6 empty] | REQUIRED
Daytime Phone Number: | [6 empty] | REQUIRED
After Hours Phone Number: | [6 empty] | REQUIRED
Email Address: | [6 empty] | REQUIRED
Availability: | [6 empty] | REQUIRED
Will Test be Witnessed? (Y/N): NOTE: A manufacturer shall notify the test lab if they wish to witness setup, startup, and testing of the unit within forty-eight (48) hours of receiving the AHRI Selection Letter. The test lab shall contact the manufacturer at least fourteen (14) calendar days in advance of any test. | [6 empty] | REQUIRED
AHRI Test Number: | [6 empty] | REQUIRED
AHRI Reference Number | [6 empty] | REQUIRED
Component Checklist: |  | □ | Low static kit |  | □ | Blower motor
Airflow Pattern: | (Circle one) |  | Horizontal | Downflow |  | Upflow Convertible
| (Circle one) |  | Blower standard | High static
| (Circle one) |  | Cooling only | Heat Pump
|  |  | BTUH | CFM
Dimensions: |  |  |  | Weight:
Pertinent Installation Manual Pages/Sections:
Attachments (List):
Required Accessories for Test:
Alternate Contacts: | [6 empty] | REQUIRED
Name: | [6 empty] | REQUIRED
Daytime Phone Number: | [6 empty] | REQUIRED
After Hours Phone Number: | [6 empty] | REQUIRED
Email Address: | [6 empty] | REQUIRED
Availability: | [6 empty] | REQUIRED
Name: | [6 empty] | REQUIRED
Daytime Phone Number: | [6 empty] | REQUIRED
After Hours Phone Number: | [6 empty] | REQUIRED
Email Address: | [6 empty] | REQUIRED
Availability: | [6 empty] | REQUIRED
Name:
Daytime Phone Number: | [6 empty] | REQUIRED
After Hours Phone Number: | [6 empty] | REQUIRED
Email Address: | [6 empty] | REQUIRED
Availability: | [6 empty] | REQUIRED
Disposition of Test Unit: | [6 empty] | REQUIRED
Additional Shipping Instructions: * Complete shipping address for sample return * Preferred carrier and account number (if applicable) * Is a RGA (Return Good Authorization) form required? * RGA contact (if applicable) * Shipping Contact (manufacturer's representative) | [6 empty] | REQUIRED

## Sheet2
Shipping Contact (manufacturer's representative)
Complete shipping address for sample return
Preferred carrier and account number (if applicable)
Is a RGA (Return Good Authorization) form required?
RGA contact (if applicable)