## Acronym OEM Mass Upload
Field Names | Manufacturer Name | Trade/Brand Name | Model Number | Water Flow Rate | Water Flow Rate Units | Water Pressure Drop | Water Pressure Drop Units | Water Coil Capacity | Water Coil Capacity Units | Primary Air Flow Rate | Primary Air Flow Rate Units | Combined Radiated and Discharge Sound Generation , 125 Hz | Combined Radiated and Discharge Sound Generation , 250 Hz | Combined Radiated and Discharge Sound Generation, 500 Hz | Combined Radiated and Discharge Sound Generation, 1000 Hz | Combined Radiated and Discharge Sound Generation, 2000 Hz | Combined Radiated and Discharge Sound Generation, 4000 Hz | Induced Air Flow Rate | Induced Air Flow Rate Units | Approved Selection Method | Catalog Number | Catalog Issue Date or Code | Software name | Software Version | Footnotes | Comments
Field Description (Blue Question Marks) | Manufacturer Name | Manufacturer selling name | Model Number
Permissible Values | Alphanumeric, all caps. Must match EXACTLY to what is in the Participant's license agreements | Alphanumeric, all caps. Must match EXACTLY a trade name in the participant login and license agreemnts (New TRADENAMES added by administrator). | Alphanumeric, all caps no spaces, maximum 30 characters, * cannot be in one of the first four characters. | Numeric, 3 decimals. Min = 0 Max = 25 | Alphanumeric, mixed case. Entry must match one of these choices: gpm L/s | Numeric, 1 decimal. Min = 0 Max = 50 | Alphanumeric, mixed case. Entry must match one of these choices: kPa in. w.c. | Numeric interger. Min = 0 Max = 20000 | Alphanumeric, mixed case. Entry must match one of these choices: W Btu/h | Numeric interger. Min = 0 Max = 1000 | Alphanumeric, mixed case. Entry must match one of these choices: cfm L/s | Numeric interger. Min = 0 Max = 100 | Numeric interger. Min = 0 Max = 100 | Numeric interger. Min = 0 Max = 100 | Numeric interger. Min = 0 Max = 100 | Numeric interger. Min = 0 Max = 100 | Numeric interger. Min = 0 Max = 100 | Numeric interger. Min = 0 Max = 5000 | Alphanumeric, mixed case. Entry must match one of these choices: cfm L/s | Alphanumeric, mixed case. Entry must match one of these choices: Software: PC-based program Software: Web Application Online Catalog (No Software) | Alphanumeric, mixed case. | Alphanumeric, mixed case. | Alphanumeric, mixed case. | Alphanumeric, mixed case. | Enter a valid footnote number. Contact admin to add new footnotes. | Free Text, only visible to AHRI and Participant
Required or Optional | Required | Required | Required | Required | Required | Required | Required | Required | Required | Required | Required | Required | Required | Required | Required | Required | Required | Required | Required | Required | Required if Approved Selection Method = 'Online Catalog (No Software)' | Required if Catalog Number is not null | Required if Approved Selection Method = 'Software%' | Required if Approved Selection Method = 'Software%' | Optional | Optional

## Acronym PBM Mass Upload
OEM AHRI Reference Number | OEM Name | OEM Trade Name | OEM Model Number | PBM Name | PBM Trade Name | PBM Model Number