|  | FORM ACB-FA3 ACB FACILITY AND EQUIPMENT QUESTIONNAIRE FOR ACTIVE CHILLED BEAMS (ACB) |
| --- | --- |

# Company (Participant) Name

# Test Facility Address and Unique Name

# Facility information

| # Facility Floor area | # Test floor floor area | # Indicate ft2 |  |
| --- | --- | --- | --- |
| # Facility height | # Dimension | # Indicate x’-y” |  |
| # Facility leakage | # @ 0.2 in. H2O pressure | # Indicate cfm/ft2 |  |
| # Facility heat flow | # Perimeter wall heat flow loss | # Indicate Btu/h/ft2 |  |
| # Heat supply method used | # Internal or External or Both |  |  |

# Test Facility Limitations

| # Operating Range of Facility | # Min. Sensible Cooling Capacity | # Indicate Btu/h |  |
| --- | --- | --- | --- |
|  | # Max. Sensible Cooling Capacity |  |  |
| # Water Flow | # Minimum Capacity | # Indicate gpm |  |
|  | # Maximum Capacity |  |  |
| # Airflow | # Maximum Conditioning Equipment Airflow Capacity | # Indicate cfm |  |
| # Sound Level | # Non-weighted sound power level | # dB |  |
| # Physical Size | # Dimensions of largest unit you can place in your facility (indicate ft or m) | # Length |  |
|  |  | # Height |  |
|  |  | # Width |  |

# Time Requirements

| # How long does it take to install and fully instrument a unit for test? | # # of Persons |  |
| --- | --- | --- |
|  | # Total # of man-hours |  |
| # How long does it take to conduct a standard rating test from start to finish, including calculations? | # # of Persons |  |
|  | # Total # of man-hours |  |
| # How many shifts per day will you employ for witness testing? | # Length of shift, hrs. |  |
|  | # # of shifts |  |

# Water Temperature Measurement

| # Instruments for determining water temperature | # Instrument Accuracy | # Frequency of calibration, months | # Is the primary standard traceable to NIST or a comparable National Standard? |
| --- | --- | --- | --- |
| # RTD |  |  | # □ Yes □ No |
| # Thermocouple |  |  | # □ Yes □ No |
| # Other: |  |  | # □ Yes □ No |
| # Data Acquisition Type |  |  |  |

# Where do you place your water temperature measuring instruments?: __________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

# Air Temperature Measurement

| # Instruments for determining air temperature | # Instrument Accuracy | # Frequency of calibration, months | # Is the primary standard traceable to NIST or a comparable National Standard? |
| --- | --- | --- | --- |
| # RTD |  |  | # □ Yes □ No |
| # Thermocouple |  |  | # □ Yes □ No |
| # Thermopile |  | # N/A | # □ Yes □ No |
| # Other: |  |  | # □ Yes □ No |
| # Data Acquisition Type |  |  |  |

# Are thermocouples all made from the same spool of wire ? □ Yes   □ No □ N/A

- Is the room airflow at a constant rate or is it adjusted depending on the unit being tested? _________________________________________________________________

- For the largest size unit you will test, how many air changes will the facility be handling?

_________________________________________________________________

# Water Flow Measurement

| # Flow measuring instruments used | # Instrument Accuracy | # Diameter | # Frequency of calibration, # months | # To what code standard(s), if any, is the instrument installed? | # Is the primary standard traceable to NIST or a comparable National Standard? |
| --- | --- | --- | --- | --- | --- |
| # Rota meter |  |  |  |  | # □ Yes □ No |
| # Turbine meter |  |  |  |  | # □ Yes □ No |
| # Orifice meter |  |  |  |  | # □ Yes □ No |
| # Magnetic meter |  |  |  |  | # □ Yes □ No |
| # Other |  |  |  |  | # □ Yes □ No |
| # Data Acquisition Type |  |  |  |  |  |

# Is the flow measuring device installed according to the manufacturer’s specification?  □ Yes   □ No

# What is the length of straight pipe upstream of flow measuring device?      _____________(ft)

# What is the length of straight pipe downstream of flow measuring device?  _____________(ft)

# Water Pressure Drop Measurement

| # Water Pressure Drop instruments used | # Instrument Accuracy | # Frequency of calibration, # months | # To what code standard(s), if any, is the instrument installed? | # Is the primary standard traceable to NIST or a comparable National Standard? |
| --- | --- | --- | --- | --- |
| # Differential Pressure |  |  |  | # □ Yes □ No |
| # Absolute pressure 1 |  |  |  | # □ Yes □ No |
| # Absolute pressure 2 |  |  |  | # □ Yes □ No |
| # Other |  |  |  | # □ Yes □ No |
| # Data Acquisition Type |  |  |  |  |

# Describe the location of static pressure taps: ________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

# Barometric Pressure Measurement

| # Barometric Pressure Drop instrument used | # Instrument Accuracy | # Frequency of calibration, # months | # To what code standard(s), if any, is the instrument installed? | # Is the primary standard traceable to NIST or a comparable National Standard? |
| --- | --- | --- | --- | --- |
| # Differential Pressure |  |  |  | # □ Yes □ No |
| # Absolute pressure 1 |  |  |  | # □ Yes □ No |
| # Other |  |  |  | # □ Yes □ No |
| # Data Acquisition Type |  |  |  |  |

# What is the approximate elevation above sea level of your test Facility?___________ (ft)

# What is the approximate standard barometric pressure at the location of your test Facility?_______ (psia)

# Sound Power Measurement

| # Power measurement devices | # Instrument Accuracy | # Frequency of calibration, # months | # To what code standard(s), if any, is the instrument installed? | # Is the primary standard traceable to NIST or a comparable National Standard? |
| --- | --- | --- | --- | --- |
|  |  |  |  | # □ Yes □ No |
| # Data Acquisition Type |  |  |  |  |

# Air Speed Measurement

| # Air Speed measurement devices | # Instrument Accuracy | # Frequency of calibration, # months | # To what code standard(s), if any, is the instrument installed? | # Is the primary standard traceable to NIST or a comparable National Standard? |
| --- | --- | --- | --- | --- |
| # Anemometer |  |  |  | # □ Yes □ No |
| # Other |  |  |  |  |
| # Data Acquisition Type |  |  |  |  |

# Discharge Air Jet Performance Measurement

| # Discharge Air Jet Performance measurement devices | # Instrument Accuracy | # Frequency of calibration, # months | # To what code standard(s), if any, is the instrument installed? | # Is the primary standard traceable to NIST or a comparable National Standard? |
| --- | --- | --- | --- | --- |
|  |  |  |  | # □ Yes □ No |
| # Data Acquisition Type |  |  |  |  |

# Data Acquisition

# Describe data acquisition system and data obtained (averaging or instantaneous):

# ________________________________	_________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

# Facility Limitations

# Identify all Facility limitations for achieving AHRI test conditions (i.e. weather dependencies; air flow rates; etc):

# ________________________________	_________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

# Identify all limitations for conducting AHRI certification testing (i.e. Facility availability; operator training, etc): _______________________________________________________________________________

# ________________________________	_________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

# Submitted By:

| # Signature | # Title |
| --- | --- |
| # Printed Name | # Date |