|  | FORM ACB-PC4 ACB FACILITY APPROVAL PROCEDURE AND CHECKLIST AHRI CERTIFICATION PROGRAM FOR ACTIVE CHILLED BEAMS (ACB) |
| --- | --- |

ACB Participant:			__________________________________________________________

Date of Inspection:		_______________________________________________________________

Facility Inspection Report Number: 		________________________________________

Approval Results: 		_____________________________________________________

Instructions to Representatives: The following Facility Approval Procedure and Checklist is to be used by the Representative Contracted by AHRI (Representative) to conduct facility inspections for the (ACB) Active Chilled Beams Certification Program at a Participant’s test facility (Facility). This Facility Approval Procedure and Checklist is to be used in conjunction with the AHRI General Operations Manual (OM) for AHRI Certification Programs, the ACB OM, the latest edition of AHRI Standard 1240 (I-P) or AHRI Standard 1241 (SI) and ASHRAE 200. Where the AHRI General OM, the ACB OM and this Witness Test Procedure and Checklist differ, the other documents shall prevail. The completed checklist shall be maintained by AHRI upon the completion of the review.

If an AHRI Certification Test will not be conducted in conjunction with the Facility Inspection, then Laboratory instrumentation comparisons are not required.

If the Facility fails to comply with the conditions listed below:

- Notify AHRI

- Notify Participant

  - If the Facility fails inspection and was scheduled to be conducted in conjunction with an AHRI ACB Certification Test, then the AHRI Certification Test shall be delayed until the Facility is brought into compliance.

The Participant will select one of the three Approval Categories (below) and submit the appropriate documentation.

The Representative will conduct Preliminary Approval and then the Facility Inspection associated with the selected Approval Category.

APPROVAL CATEGORIES

| Requirements | Category 1 | Category 2 | Category 3 |
| --- | --- | --- | --- |
| Form ACB-FA1 Application | ■ | ■ | ■ |
| Form ACB-FA2 Personnel Experience Questionnaire | ■ | ■ | ■ |
| Form ACB-FA3 Facility and Equipment Questionnaire | ■ |  | ■ |
| Copy of each calibration report showing last dates of calibration | ■ | ■ | ■ |
| Schematic drawing of the area of the test facility in which AHRI certification testing will be performed | ■ |  | ■ |
| Schematic drawing of placement of Air Sampling Trees for each coil configuration to be tested, with consideration to the range of sizes to be tested | ■ |  | ■ |
| Full Facility Inspection | ■ | ■ | ■ |

(“■” indicates the item is required for the category)

Category Descriptions:

Category 1 =	First-time (“Full”) Facility Approval (to be compliant with the latest edition of AHRI Standard 1240 (I-P) and ASHRAE 200.

Category 2 =	No physical and/or operational changes were made which would impact results of previous Category 1 assessment

Category 3 =	Physical and/or operational change(s) was (were) made to the Facility since previous Category 1 assessment

[1] 	This is a first-time (“Full”) Facility Approval (to be compliant with AHRI Standard 1240 (I-P) or AHRI Standard 1241 (SI))

- ACB-FA1 and all associated Forms and Documents specified in ACB-FA1 must be signed and submitted

- A Full Facility Inspection will be conducted

[2]	No physical and/or operational changes were made which would impact results of previous category [1] 	assessment

- ACB-FAI must be signed and submitted

- ACB-FA2 must be signed and submitted

- Schematics are not required

- A Full Facility Inspection will be conducted

[3]	A physical and/or operational change(s) was (were) made to the Facility since previous category [1] 	assessment

- ACB-FA1 and all associated Forms and Documents specified in ACB-FA1 must be signed and submitted

- A Full Facility Inspection will be conducted

| Representative initials | data point (if applicable) |  |
| --- | --- | --- |

| Pre-Visit/Preliminary Approval |  |  |
| --- | --- | --- |
| Confirm that the following Witness Testing Forms and Documents have been submitted by the Participant and conduct verification steps associated with each of the Forms and Documents in order to grant preliminary approval of the Facility: |  |  |
|  |  | - ACB-FA1: Application for Witness Testing - Verify form is completed in its entirety - Verify which Approval Category the Participant has selected |
|  |  | - ACB-FA2: Personnel Experience Questionnaire - Verify form is completed in its entirety |
|  |  | - ACB-FA3: Facility and Equipment Questionnaire - Verify form is completed in its entirety - Verify water flow capability matches minimum and maximum cooling capacity of the Facility - Verify maximum airflow meets or exceeds the largest capacity active chilled beam - Verify Power Supply is suitable for the equipment being tested - Familiarize yourself with the answers to all of the questions. Contact the Participant to resolve any issues - Identify all “NO” answers. Contact the Participant to resolve any issues |
|  |  | - Calibration report(s) showing dates of last calibration of each System/Instrument - Verify that all Systems/Instruments will have current calibrations at the time of the Witness Test |
|  |  | - Schematic drawing of the area of the Facility in which AHRI certification testing will be conducted - Verify that the information is reasonable |
| Determine whether the Facility should be granted preliminary approval |  |  |
|  |  | If NO: - Inform AHRI - Inform the Participant of additional information and/or changes that are required. - Upon receipt of additional information and/or confirmation of changes, make a determination whether to grant preliminary approval of the Facility or not |
|  |  | If YES: - Inform AHRI - Make arrangements for Facility inspection |

| Representative initials | data point (if applicable) |  |
| --- | --- | --- |

| Day of Inspection at Participant’s Facility |  |  |  |
| --- | --- | --- | --- |
|  |  | Upon arrival, request a brief meeting of the involved parties to review the following information: - Safety rules at the site - Completed forms FA1-FA4 - Schedule of testing/inspection |  |
| FACILITY INSPECTION: VERIFICATION OF HARDWARE |  |  |  |
|  |  | - Verify that all instruments are installed and are being applied as described in Form ACB-FA3: - Verify that all instruments are being applied and used in accordance with ASHRAE Standard 200 - Verify that the descriptions in Form ACB-FA3 match actual installations and usage - Verify that calibration stickers are current and properly installed on all instruments |  |
|  |  | - Verify proper installation of test Active Chilled Beam in test room - Water connections and pressure taps are installed correctly |  |
| OPERATION OF ACTIVE CHILLED BEAM: FACILITY CONTROL AND DATA ACQUISITION |  |  |  |
|  |  | - Start active chilled beam and achieve stable 100% load conditions |  |
|  |  | - Observe operation of the Facility and record any unusual circumstances. |  |
|  |  | - Note the time it takes to get from start up to stable 100% conditions |  |
|  |  | - Have the Participant run a test (collecting all data) according to the Standard |  |
|  |  | - Did you observe any limitations of the Facility? |  |
| Determine whether the Facility should be granted approval |  |  |  |
|  |  | If NO: - Identify specifically what additional information and/or changes are required |  |
|  |  | - Determine whether the additional information and/or required changes can be completed during this inspection visit or if another facility inspection must be scheduled for a later date |  |
|  |  | If YES: - AHRI will issue Facility Approval letter |  |

This checklist & all supporting documents have been reviewed & approved by:

________________________________________
PRINTED NAME OF REPRESENTATIVE

________________________________________
SIGNATURE OF REPRESENTATIVE

________________________________________
DATE