## 716
BOILER TEST LOG SHEET
Manufacturer | [7 empty] | Nozzle | [5 empty] | By
Model Number | [7 empty] | Burner | [5 empty] | Date
Serial Number | [7 empty] | Pressure
Nameplate Input |  |  |  |  | Fuel |  |  | Tracer Gas Concentration
Obtain Steady State conditions with 3 consecutive readings taken 15 minutes apart. Then record data and shut down. | TIME | TEMPERATURE |  |  |  | DRAFT |  | INPUT |  | CO2 |  | CO or Smoke, | WATER TEMPERATURE |  | ELECTRICAL |  | Steam Pressure, inHg
| Test, minutes | Ambient, °F | Air Inlet, °F | Flue, °F | Stack, °F | Over Fire, WC | Flue, WC | Gas, ft3 | Oil, lb gal | Flue, % | Stack, % |  | Out, °F | In, °F | Volts, V | Power Burner, Kw
0:00
0:15
0:30
0:45
1:00
| Time After Shutdown | Ambient, °F | Air Inlet, °F | Flue, °F | Tracer Gas |  | Flue, WC | Gas, ft3 |  |  | Damper Manufacturer
[5 empty] | Temp. | Flow |  |  |  |  | Model Number
| 3:45 | [9 empty] | Stack Area | [5 empty] | ft2
[11 empty] | Damper Area | [5 empty] | ft2
| 22:30 | [9 empty] | Angle | [5 empty] | °
| 45:00 | [9 empty] | Start to Close Time | [5 empty] | minutes
|  | Barometer |  |  | at |  | °F |  |  |  | Closing Time | [5 empty] | minutes
Barometer (corrected)
Remarks
| Time After Shutdown | Ambient, °F | Air Inlet, °F | Flue, °F | Tracer Gas |  | Flue, WC
[5 empty] | Temp. | Flow
50:00
51:00
55:30